Flow Sensor Technology White Paper

#### Short and a bit too commercial for my tastes

#### Introduction

The efficient operation of equipment in modern materials processing and discrete manufacturing plants often depends on the accurate flow sensing measurement of gases, liquids and slurries.   Accurate air flow measurement, for example, in OEM equipment such as boilers and burners is not only critical to achieving the necessary temperatures for operation, but also to operate as efficiently as possible and reduce energy consumption, pollution and cost.

#### Typical Applications

Air Compressors.  Many manufacturing plants depend on compressed air for aeration mixing and powering pneumatic equipment in assembly processes.  Thermal flow sensors embedded within a process control loop, at main distribution points and point-of-use help ensure the compressors provide only the necessary and optimum amount of air and trap leaks.  These sensors provide both a highly reliable and consistent air flow while minimizing energy costs.

Gas Compressors. In food processing plants where liquid nitrogen is used in cooling systems, thermal sensors measure Nitrogen flow to ensure the right amount of gas is used to ensure process quality.  Similar applications for flow sensors are found in large commercial ammonia refrigeration systems.  In both applications, the wide turndown ratios (100:1), low flow sensitivity and negligible pressure drop, make thermal flow sensors an ideal solution.

Pump Protection Circuits.  Pumps are expensive and can be maintenance intensive if they are allowed to run dry, causing excessive wear to the pump components.  Thermal flow sensors added in a control loop or alarm system help ensure that pumps never run dry or achieve a graceful shutdown should the process media stop flowing for any reason.  The sealed design of thermal flow sensors eliminates all contact with the process media to prevent contamination, and they are suitable for use in both liquids and slurries due to their no-clog sensor head.

Additive Dispensing Control.  In pharmaceuticals processing, highly accurate thermal flow sensors within pumps support liquid additive dispensing.  The precise measurement of additive flow helps ensure batch control quality essential in the pharmaceuticals industry.  Designed to support line sizes down to 0.25 inches (6mm), these flow sensors are also suitable for prototyping and laboratory applications as well.

#### Thermal Flow Sensing

With their accuracy, excellent repeatability, and rugged construction, thermal dispersion flow sensors offer superior performance, reliability, long life, and low maintenance.  They are simple to install and offer a lowest total cost and longest life-cycle solution in embedded OEM equipment flow sensor applications.  In comparison to mechanical rotary, float or orifice plates, the no-moving parts design of FCI’s thermal flow sensors eliminates clogging and sensor breakage requiring maintenance and replacement.

In comparison, FCI’s thermal flow sensing element contains two thermowell-protected Resistance Temperature Detectors (platinum RTDs).  One RTD is heated and the other RTD senses the gas or fluid temperature.  The temperature difference between the two RTDs relates to the fluid flow rate.

They provide a true mass flow analog output (without pressure or temperature transducers), as well as temperature, totalizing and alarm outputs. The result is high accuracy, with the sensors never coming into contact with the fluid being measured.  These sensors are simple to install, making them minimally invasive, which reduces the undesirable effects of pressure-drop as well.